## tet10
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1705009483 |  |  |  | Serial number of connected stacker:
Firmware: V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) |  |  |  | MAI, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)
Date: | 2024-11-30
Time: | 5:43:31 PM
System |  |  |  | TECAN-HP
User |  |  |  | Tecan-HP\Tecan
Plate |  |  |  | Corning 96 Flat Bottom Black Polystyrene Cat. No.: 3631 [COR96fb clear bottom.pdfx]
Plate-ID (Stacker)
Shaking (Orbital) Duration: |  |  |  | 5 | s
Shaking (Orbital) Amplitude: |  |  |  | 2 | mm
Label: od600
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-F11
Start Time: | 11/30/2024 5:43:36 PM
Temperature: 26.5 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 0.9474 | 0.865 | 0.887 | 0.046 | 0.9966 | 0.9445 | 0.9942 | 0.0448 | 1.0704 | 0.0384 |  | 0.9094 | 0.827 | 0.849 | 0.9586 | 0.9065 | 0.9562 | 1.0324
C | 0.8491 | 0.9738 | 0.9282 | 0.0457 | 0.9685 | 1.022 | 1.0102 | 0.0461 | 0.8393 | 0.0381 |  | 0.8111 | 0.9358 | 0.8902 | 0.9305 | 0.984 | 0.9722 | 0.8013
D | 0.9389 | 0.7651 | 0.7454 | 0.0446 | 0.8513 | 0.9118 | 1.0167 | 0.0452 | 1.0579 | 0.0378 |  | 0.9009 | 0.7271 | 0.7074 | 0.8133 | 0.8738 | 0.9787 | 1.0199
E | 0.9725 | 0.8892 | 0.8768 | 0.045 | 1.0056 | 0.9777 | 1.03 | 0.0452 | 0.9414 | 0.0374 |  | 0.9345 | 0.8512 | 0.8388 | 0.9676 | 0.9397 | 0.992 | 0.9034
F | 0.9199 | 0.7325 | 0.8934 | 0.0451 | 0.9756 | 0.9594 | 1.0478 | 0.0456 | 1.0239 | 0.0375 |  | 0.8819 | 0.6945 | 0.8554 | 0.9376 | 0.9214 | 1.0098 | 0.9859
0.03784
End Time: | 11/30/2024 5:44:00 PM
Label: gfp50
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 50 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | B2-F11
Start Time: | 11/30/2024 5:44:04 PM
Temperature: 26.6 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 260 | 287 | 63 | 7 | 330 | 331 | 63 | 7 | 92 | 32
C | 261 | 295 | 68 | 7 | 321 | 334 | 67 | 7 | 71 | 33
D | 266 | 255 | 57 | 7 | 265 | 297 | 72 | 7 | 92 | 33
E | 322 | 309 | 63 | 7 | 331 | 312 | 72 | 7 | 77 | 34
F | 303 | 240 | 68 | 7 | 329 | 337 | 73 | 7 | 91 | 34
End Time: | 11/30/2024 5:44:49 PM
Label: gfp 80
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm | [6 empty] | 7397.1852 | 8813.7847 | 1025.9128 | 8884.8323 | 9429.6743 | 917.1721 | 1631.1507
Excitation Bandwidth |  |  |  | 9 | nm | [6 empty] | 7996.548 | 7939.7307 | 1143.5632 | 8826.4372 | 8708.3337 | 1009.0516 | 1341.57
Emission Bandwidth |  |  |  | 20 | nm | [6 empty] | 7481.4075 | 8777.3346 | 962.6802 | 8116.3162 | 8603.7992 | 1128.0269 | 1619.7667
Gain |  |  |  | 80 | Manual | [6 empty] | 8753.3438 | 9246.9458 | 1057.463 | 8738.1151 | 8466.5319 | 1101.8145 | 1401.3726
Number of Flashes |  |  |  | 25 | [7 empty] | 8740.22 | 8492.4404 | 1167.8747 | 8939.8464 | 9385.7174 | 1134.8783 | 1646.2115
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs | [5 empty] | avg | 8073.7409 | 8654.0472 | 1071.4988 | 8701.1095 | 8918.8113 | 1058.1887 | 1528.0143
Settle Time |  |  |  | 0 | ms | [5 empty] | D0 | 10254.4526 | 30587.4835 | 42764.7789 | 11596.1967 | 38806.2032 | 58439.3241 | 1821.6813
Z-Position (Manual) |  |  |  | 20000 | µm | [5 empty] | D3/D0 | 0.78734 | 0.28293 | 0.025056 | 0.75034 | 0.22983 | 0.018107 | 0.83879
Part of Plate |  |  |  | B2-F11
Start Time: | 11/30/2024 5:44:56 PM
Temperature: 26.6 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 7659 | 8221 | 1803 | 218 | 9449 | 9480 | 1809 | 214 | 2616 | 935 |  | 6727 | 7289 | 871 | 8517 | 8548 | 877 | 1684
C | 7418 | 8362 | 1950 | 185 | 9145 | 9501 | 1913 | 186 | 2007 | 921 |  | 6486 | 7430 | 1018 | 8213 | 8569 | 981 | 1075
D | 7672 | 7314 | 1613 | 185 | 7533 | 8450 | 2036 | 184 | 2584 | 932 |  | 6740 | 6382 | 681 | 6601 | 7518 | 1104 | 1652
E | 9112 | 8803 | 1819 | 186 | 9387 | 8888 | 2025 | 183 | 2198 | 937 |  | 8180 | 7871 | 887 | 8455 | 7956 | 1093 | 1266
F | 8640 | 6830 | 1931 | 186 | 9314 | 9580 | 2078 | 185 | 2555 | 934 |  | 7708 | 5898 | 999 | 8382 | 8648 | 1146 | 1623
931.8
End Time: | 11/30/2024 5:45:41 PM
Label: gfp100
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | B2-F11
Start Time: | 11/30/2024 5:45:48 PM
Temperature: 26.6 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 36871 | 39190 | 8643 | 1003 | 44901 | 45136 | 8631 | 1011 | 12560 | 4511
C | 35415 | 39844 | 9270 | 893 | 43391 | 45129 | 9155 | 882 | 9651 | 4424
D | 36468 | 34689 | 7715 | 888 | 36020 | 40271 | 9706 | 879 | 12395 | 4469
E | 43411 | 42119 | 8723 | 887 | 44691 | 42207 | 9716 | 887 | 10504 | 4528
F | 41030 | 32765 | 9242 | 875 | 44175 | 45646 | 9885 | 887 | 12252 | 4475
End Time: | 11/30/2024 5:46:33 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MTP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) HCP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)