## tet10
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1705009483 |  |  |  | Serial number of connected stacker:
Firmware: V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) |  |  |  | MAI, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)
Date: | 2024-12-02
Time: | 6:01:03 PM
System |  |  |  | TECAN-HP
User |  |  |  | Tecan-HP\Tecan
Plate |  |  |  | Corning 96 Flat Bottom Black Polystyrene Cat. No.: 3631 [COR96fb clear bottom.pdfx]
Plate-ID (Stacker)
Shaking (Orbital) Duration: |  |  |  | 5 | s
Shaking (Orbital) Amplitude: |  |  |  | 2 | mm
Label: od600
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-F11
Start Time: | 12/2/2024 6:01:08 PM
Temperature: 27.3 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 0.7754 | 0.7221 | 0.8413 | 0.0458 | 0.9441 | 0.8048 | 0.9177 | 0.0455 | 0.9855 | 0.0389 |  | 0.7364 | 0.6831 | 0.8023 | 0.9051 | 0.7658 | 0.8787 | 0.9465
C | 0.892 | 0.9517 | 0.8604 | 0.0457 | 0.9828 | 1.0012 | 0.8819 | 0.047 | 1.0567 | 0.0396 |  | 0.853 | 0.9127 | 0.8214 | 0.9438 | 0.9622 | 0.8429 | 1.0177
D | 0.8561 | 0.9269 | 0.8579 | 0.0449 | 0.7964 | 0.9895 | 0.9722 | 0.0453 | 1.0093 | 0.0387 |  | 0.8171 | 0.8879 | 0.8189 | 0.7574 | 0.9505 | 0.9332 | 0.9703
E | 0.8961 | 0.9519 | 0.872 | 0.0457 | 0.9735 | 0.8334 | 1.0542 | 0.0454 | 0.8023 | 0.0378 |  | 0.8571 | 0.9129 | 0.833 | 0.9345 | 0.7944 | 1.0152 | 0.7633
F | 0.9098 | 0.9753 | 0.8095 | 0.0451 | 0.9673 | 0.9651 | 1.029 | 0.046 | 0.9616 | 0.0377 |  | 0.8708 | 0.9363 | 0.7705 | 0.9283 | 0.9261 | 0.99 | 0.9226
0.03854
End Time: | 12/2/2024 6:01:32 PM
Label: gfp50
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 50 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | B2-F11
Start Time: | 12/2/2024 6:01:36 PM
Temperature: 27.3 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 179 | 102 | 62 | 6 | 299 | 83 | 58 | 7 | 85 | 32
C | 278 | 135 | 65 | 7 | 316 | 104 | 56 | 6 | 95 | 32
D | 258 | 163 | 65 | 6 | 227 | 105 | 68 | 6 | 88 | 32
E | 280 | 148 | 62 | 7 | 313 | 86 | 73 | 7 | 69 | 32
F | 294 | 162 | 60 | 7 | 311 | 103 | 73 | 7 | 85 | 32
End Time: | 12/2/2024 6:02:21 PM
Label: gfp 80
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm | [6 empty] | 5767.2462 | 2961.499 | 1099.3394 | 8475.3064 | 1899.9739 | 826.2206 | 1598.5209
Excitation Bandwidth |  |  |  | 9 | nm | [6 empty] | 8178.1944 | 3239.8379 | 1118.8215 | 8600.339 | 2120.1414 | 794.8748 | 1779.5028
Emission Bandwidth |  |  |  | 20 | nm | [6 empty] | 7830.1307 | 4154.747 | 1128.3429 | 7392.3949 | 2170.4366 | 1071.5817 | 1619.0869
Gain |  |  |  | 80 | Manual | [6 empty] | 8177.5757 | 3539.2704 | 1036.0144 | 8476.1904 | 1903.3232 | 1148.5421 | 1349.4039
Number of Flashes |  |  |  | 25 | [7 empty] | 8548.4613 | 3923.9559 | 1009.734 | 8530.6474 | 2169.3122 | 1147.4747 | 1595.491
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs | [5 empty] | avg | 7700.3217 | 3563.8621 | 1078.4504 | 8294.9756 | 2052.6375 | 997.7388 | 1588.4011
Settle Time |  |  |  | 0 | ms | [5 empty] | D0 | 10254.4526 | 30587.4835 | 42764.7789 | 11596.1967 | 38806.2032 | 58439.3241 | 1821.6813
Z-Position (Manual) |  |  |  | 20000 | µm | [5 empty] | D3/D0 | 0.75092 | 0.11651 | 0.025218 | 0.71532 | 0.052895 | 0.017073 | 0.87194
Part of Plate |  |  |  | B2-F11
Start Time: | 12/2/2024 6:02:28 PM
Temperature: 27.4 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 5160 | 2936 | 1795 | 212 | 8584 | 2368 | 1639 | 209 | 2426 | 912 |  | 4247 | 2023 | 882 | 7671 | 1455 | 726 | 1513
C | 7889 | 3870 | 1832 | 181 | 9030 | 2953 | 1583 | 181 | 2724 | 916 |  | 6976 | 2957 | 919 | 8117 | 2040 | 670 | 1811
D | 7311 | 4602 | 1837 | 182 | 6512 | 2976 | 1913 | 182 | 2484 | 916 |  | 6398 | 3689 | 924 | 5599 | 2063 | 1000 | 1571
E | 7922 | 4144 | 1776 | 179 | 8834 | 2425 | 2079 | 183 | 1943 | 916 |  | 7009 | 3231 | 863 | 7921 | 1512 | 1166 | 1030
F | 8357 | 4587 | 1691 | 182 | 8832 | 2922 | 2049 | 183 | 2385 | 907 |  | 7444 | 3674 | 778 | 7919 | 2009 | 1136 | 1472
913.4
End Time: | 12/2/2024 6:03:13 PM
Label: gfp100
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | B2-F11
Start Time: | 12/2/2024 6:03:20 PM
Temperature: 27.4 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 24599 | 14055 | 8611 | 857 | 40698 | 11330 | 7761 | 869 | 11597 | 4254
C | 37529 | 18480 | 8787 | 868 | 42916 | 14177 | 7564 | 863 | 13065 | 4420
D | 34935 | 22117 | 8842 | 864 | 31014 | 14256 | 9168 | 861 | 11908 | 4391
E | 37892 | 20064 | 8499 | 869 | 42099 | 11633 | 10029 | 878 | 9291 | 4396
F | 39873 | 21987 | 8092 | 873 | 41724 | 14072 | 9804 | 884 | 11489 | 4340
End Time: | 12/2/2024 6:04:05 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MTP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) HCP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)