## tet10
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1705009483 |  |  |  | Serial number of connected stacker:
Firmware: V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) |  |  |  | MAI, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)
Date: | 2024-08-01
Time: | 4:23:48 PM
System |  |  |  | TECAN-HP
User |  |  |  | Tecan-HP\Tecan
Plate |  |  |  | Corning 96 Flat Bottom Black Polystyrene Cat. No.: 3631 [COR96fb clear bottom.pdfx]
Plate-ID (Stacker)
Shaking (Orbital) Duration: |  |  |  | 5 | s
Shaking (Orbital) Amplitude: |  |  |  | 2 | mm
Label: od600
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-G11
Start Time: | 8/1/2024 4:23:53 PM
Temperature: 27 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 0.7816 | 0.7308 | 0.9131 | 0.6849 | 0.9864 | 0.9781 | 1.0936 | 1.0234 | 1.0695 | 0.9955 | 0.7386 | 0.6878 | 0.8701 | 0.6419 | 0.9434 | 0.9351 | 1.0506 | 0.9804 | 1.0265 | 0.9525
C | 0.874 | 1.0247 | 0.8205 | 0.9702 | 1.0226 | 0.9175 | 0.9981 | 0.9669 | 0.8883 | 0.9595 | 0.831 | 0.9817 | 0.7775 | 0.9272 | 0.9796 | 0.8745 | 0.9551 | 0.9239 | 0.8453 | 0.9165
D | 0.7636 | 1.0086 | 0.9518 | 0.8634 | 0.8823 | 0.9123 | 1.0625 | 0.9465 | 0.9029 | 0.9062 | 0.7206 | 0.9656 | 0.9088 | 0.8204 | 0.8393 | 0.8693 | 1.0195 | 0.9035 | 0.8599 | 0.8632
E | 0.8111 | 0.9669 | 0.8848 | 0.8793 | 0.9304 | 0.9316 | 1.1116 | 1.0837 | 0.9903 | 1.039 | 0.7681 | 0.9239 | 0.8418 | 0.8363 | 0.8874 | 0.8886 | 1.0686 | 1.0407 | 0.9473 | 0.996
F | 0.7464 | 1.0467 | 0.8907 | 0.9053 | 0.7801 | 0.8916 | 1.0143 | 1.0026 | 0.786 | 0.8192 | 0.7034 | 1.0037 | 0.8477 | 0.8623 | 0.7371 | 0.8486 | 0.9713 | 0.9596 | 0.743 | 0.7762
G | 0.043 | 0.0431 | 0.0441 | 0.0434 | 0.0426 | 0.0438 | 0.7109 | 0.046 | 0.7025 | 0.8376 | [6 empty] | 0.6679 |  | 0.6595 | 0.7946
0.04324
End Time: | 8/1/2024 4:24:20 PM
Label: gfp50
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 50 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | B2-G11
Start Time: | 8/1/2024 4:24:25 PM
Temperature: 27 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 96 | 106 | 265 | 288 | 160 | 116 | 150 | 266 | 569 | 234
C | 106 | 141 | 233 | 451 | 167 | 112 | 147 | 255 | 516 | 196
D | 98 | 138 | 272 | 386 | 142 | 113 | 148 | 249 | 501 | 232
E | 98 | 135 | 255 | 409 | 147 | 109 | 152 | 281 | 542 | 207
F | 94 | 145 | 269 | 418 | 132 | 109 | 138 | 266 | 407 | 188
G | 64 | 63 | 66 | 64 | 64 | 63 | 131 | 77 | 126 | 126
End Time: | 8/1/2024 4:25:16 PM
Label: gfp 80 | [10 empty] | w/ Kan |  |  |  |  | w/o Kan
Mode |  |  |  | Fluorescence Top Reading | [6 empty] | 1184.1321 | 1716.4874 | 6530.9734 | 10021.1873 | 2846.7246 | 1606.887 | 2360.1751 | 5880.8653 | 13995.714 | 5034.7505
Excitation Wavelength |  |  |  | 488 | nm | [5 empty] | 1387.0036 | 2201.8946 | 6161.5433 | 11733.8222 | 2962.0252 | 1566.1521 | 2484.1378 | 5851.9321 | 15114.8704 | 4066.121
Emission Wavelength |  |  |  | 520 | nm | [5 empty] | 1345.5454 | 2165.0787 | 6456.4261 | 11014.871 | 2617.1809 | 1599.6779 | 2343.8941 | 5752.7393 | 14338.4118 | 5444.393
Excitation Bandwidth |  |  |  | 9 | nm | [5 empty] | 1206.3533 | 2140.4914 | 6382.2759 | 11665.1919 | 2640.9736 | 1445.6449 | 2341.0068 | 5890.843 | 14217.8824 | 4024.6987
Emission Bandwidth |  |  |  | 20 | nm | [5 empty] | 1165.1976 | 2268.2076 | 6860.4461 | 11598.7473 | 2635.4633 | 1485.5055 | 2201.7914 | 5888.4955 | 12981.9648 | 4491.8837
Gain |  |  |  | 80 | Manual | [11 empty] | 2779.7574 |  | 2611.9788 | 2179.2097
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs | [5 empty] | 1257.6464 | 2098.4319 | 6478.333 | 11206.764 | 2740.4735 | 1540.7735 | 2346.201 | 5852.975 | 14129.7687 | 4612.3694
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms | [5 empty] | 995.2693 | 1839.948 | 7479.3875 | 22988.973 | 39196.9343 | 1343.1477 | 1901.2653 | 7179.4253 | 28186.7202 | 68664.2078
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | B2-G11 | [6 empty] | 1.2636 | 1.1405 | 0.86616 | 0.48748 | 0.069916 | 1.1471 | 1.234 | 0.81524 | 0.50129 | 0.067173
Start Time: | 8/1/2024 4:25:24 PM
Temperature: 27.1 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 2680 | 2986 | 7488 | 8238 | 4491 | 3308 | 4285 | 7571 | 16172 | 6601 | 874.6 | 1180.6 | 5682.6 | 6432.6 | 2685.6 | 1502.6 | 2479.6 | 5765.6 | 14366.6 | 4795.6
C | 2958 | 3967 | 6596 | 12685 | 4707 | 3175 | 4178 | 7212 | 14582 | 5532 | 1152.6 | 2161.6 | 4790.6 | 10879.6 | 2901.6 | 1369.6 | 2372.6 | 5406.6 | 12776.6 | 3726.6
D | 2775 | 3896 | 7673 | 10842 | 4002 | 3196 | 4195 | 7003 | 14135 | 6505 | 969.6 | 2090.6 | 5867.6 | 9036.6 | 2196.6 | 1390.6 | 2389.6 | 5197.6 | 12329.6 | 4699.6
E | 2732 | 3783 | 7178 | 11561 | 4149 | 3090 | 4307 | 7936 | 15274 | 5814 | 926.6 | 1977.6 | 5372.6 | 9755.6 | 2343.6 | 1284.6 | 2501.6 | 6130.6 | 13468.6 | 4008.6
F | 2625 | 4082 | 7621 | 11807 | 3748 | 3066 | 3944 | 7456 | 11451 | 5292 | 819.6 | 2276.6 | 5815.6 | 10001.6 | 1942.6 | 1260.6 | 2138.6 | 5650.6 | 9645.6 | 3486.6
G | 1781 | 1782 | 1836 | 1826 | 1802 | 1756 | 3662 | 2183 | 3528 | 3537 | [6 empty] | 1856.6 |  | 1722.6 | 1731.6
1805.4
End Time: | 8/1/2024 4:26:16 PM
Label: gfp100
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | B2-G11
Start Time: | 8/1/2024 4:26:23 PM
Temperature: 27.1 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
B | 12828 | 14334 | 35739 | 39381 | 21420 | 15793 | 20360 | 35878 | OVER | 31309
C | 14055 | 18954 | 31597 | 60489 | 22446 | 15025 | 19904 | 34396 | OVER | 26379
D | 13257 | 18617 | 36746 | 51798 | 19160 | 15263 | 20051 | 33561 | OVER | 30915
E | 12987 | 18172 | 34417 | 55367 | 19903 | 14747 | 20537 | 37928 | OVER | 27752
F | 12548 | 19541 | 36468 | 56274 | 17907 | 14641 | 18820 | 35712 | 54718 | 25334
G | 8507 | 8484 | 8766 | 8724 | 8683 | 8379 | 17474 | 10451 | 16965 | 16931
End Time: | 8/1/2024 4:27:15 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MTP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) HCP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)