## rowF_redo
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1705009483 |  |  |  | Serial number of connected stacker:
Firmware: V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) |  |  |  | MAI, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)
Date: | 2025-09-25
Time: | 6:03:58 PM
System |  |  |  | TECAN-HP
User |  |  |  | Tecan-HP\Tecan
Plate |  |  |  | Corning 96 Flat Bottom Black Polystyrene Cat. No.: 3631 [COR96fb clear bottom.pdfx]
Plate-ID (Stacker)
Shaking (Orbital) Duration: |  |  |  | 5 | s
Shaking (Orbital) Amplitude: |  |  |  | 2 | mm
Label: od600
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | G2-G11
Start Time: | 9/25/2025 6:04:04 PM
Temperature: 27 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
G | 0.9955 | 1.0009 | 0.8472 | 0.7554 | 0.8088 | 0.9181 | 0.9251 | 0.908 | 0.795 | 0.7471
End Time: | 9/25/2025 6:04:13 PM
Label: gfp50
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 50 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | G2-G11
Start Time: | 9/25/2025 6:04:17 PM
Temperature: 27 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
G | 115 | 437 | 194 | 502 | 134 | 115 | 424 | 294 | 343 | 115
End Time: | 9/25/2025 6:04:33 PM
Label: gfp 80
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | G2-G11
Start Time: | 9/25/2025 6:04:40 PM
Temperature: 27 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
G | 3246 | 12454 | 5517 | 14262 | 3800 | 3264 | 12097 | 8384 | 9737 | 3297
End Time: | 9/25/2025 6:04:55 PM
Label: gfp100
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | G2-G11
Start Time: | 9/25/2025 6:05:03 PM
Temperature: 27 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
G | 15552 | 59001 | 26248 | OVER | 18262 | 15670 | 57227 | 40014 | 46184 | 15811
End Time: | 9/25/2025 6:05:18 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MTP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) HCP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)

## tet10
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1705009483 |  |  |  | Serial number of connected stacker:
Firmware: V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) |  |  |  | MAI, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)
Date: | 2025-09-25
Time: | 4:47:34 PM
System |  |  |  | TECAN-HP
User |  |  |  | Tecan-HP\Tecan
Plate |  |  |  | Corning 96 Flat Bottom Black Polystyrene Cat. No.: 3631 [COR96fb clear bottom.pdfx]
Plate-ID (Stacker)
Shaking (Orbital) Duration: |  |  |  | 5 | s
Shaking (Orbital) Amplitude: |  |  |  | 2 | mm
Label: od600
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-F12
Start Time: | 9/25/2025 4:47:40 PM
Temperature: 26.7 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
B | 0.9716 | 1.0395 | 0.9485 | 0.9147 | 0.8449 | 1.0059 | 1.1005 | 1.0257 | 0.8963 | 0.9861 | 0.0396
C | 1.032 | 1.0719 | 0.8705 | 0.8468 | 0.7347 | 1.0183 | 1.0688 | 1.0352 | 0.9185 | 0.933 | 0.0399
D | 1.0607 | 1.0453 | 0.9375 | 0.8885 | 0.9492 | 1.0584 | 1.0765 | 1.0486 | 0.9379 | 0.831 | 0.0398
E | 0.9822 | 1.0948 | 0.9986 | 0.8933 | 0.907 | 1.0148 | 1.0316 | 1.0702 | 0.9051 | 0.8987 | 0.0444
F | 1.0079 | 0.9968 | 0.9542 | 0.773 | 0.8117 | 0.9233 | 0.9319 | 0.9094 | 0.7991 | 0.7453 | 0.0445
End Time: | 9/25/2025 4:48:06 PM
Label: gfp50
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 50 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | B2-F12
Start Time: | 9/25/2025 4:48:10 PM
Temperature: 26.8 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
B | 104 | 438 | 206 | 240 | 130 | 111 | 534 | 328 | 353 | 148 | 61
C | 111 | 465 | 302 | 451 | 121 | 110 | 496 | 326 | 391 | 142 | 61
D | 109 | 454 | 216 | 461 | 152 | 118 | 513 | 329 | 405 | 127 | 61
E | 116 | 509 | 242 | 452 | 147 | 119 | 490 | 333 | 397 | 146 | 7
F | 115 | 430 | 190 | 492 | 132 | 113 | 416 | 287 | 336 | 114 | 7
End Time: | 9/25/2025 4:48:59 PM
Label: gfp 80
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | B2-F12
Start Time: | 9/25/2025 4:49:06 PM
Temperature: 26.8 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
B | 2948 | 12396 | 7766 | 6864 | 3686 | 3140 | 15134 | 9287 | 10031 | 4198 | 1705
C | 3146 | 13178 | 8109 | 12768 | 3445 | 3098 | 14091 | 9266 | 11109 | 4037 | 1708
D | 3078 | 12888 | 9173 | 13034 | 4280 | 3287 | 14433 | 9269 | 11465 | 3579 | 1706
E | 3279 | 14355 | 7119 | 12798 | 4104 | 3329 | 13801 | 9408 | 11170 | 4132 | 191
F | 3240 | 12128 | 6906 | 13935 | 3717 | 3200 | 11812 | 8109 | 9506 | 3230 | 188
End Time: | 9/25/2025 4:49:54 PM
Label: gfp100
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 488 | nm
Emission Wavelength |  |  |  | 520 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 20000 | µm
Part of Plate |  |  |  | B2-F12
Start Time: | 9/25/2025 4:50:02 PM
Temperature: 26.8 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
B | 14173 | 58899 | 28247 | 32769 | 17741 | 15096 | OVER | 44302 | 47568 | 20147 | 8167
C | 15124 | 62319 | 40973 | 60324 | 16512 | 14886 | OVER | 44248 | 52799 | 19301 | 8171
D | 14947 | 61000 | 29288 | 61913 | 20606 | 15874 | OVER | 44331 | 54516 | 17298 | 8181
E | 15904 | OVER | 32957 | 60867 | 19806 | 16058 | OVER | 44610 | 53433 | 19863 | 902
F | 15537 | 57697 | 25796 | OVER | 17848 | 15380 | 56192 | 38838 | 45301 | 15536 | 899
End Time: | 9/25/2025 4:50:50 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MTP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) HCP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)

## Sheet2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1705009483 |  |  |  | Serial number of connected stacker:
Firmware: V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) |  |  |  | MAI, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)
Date: | 2025-09-25
Time: | 4:46:30 PM
System |  |  |  | TECAN-HP
User |  |  |  | Tecan-HP\Tecan
Plate |  |  |  | Corning 96 Flat Bottom Black Polystyrene Cat. No.: 3631 [COR96fb clear bottom.pdfx]
Plate-ID (Stacker)
Shaking (Orbital) Duration: |  |  |  | 5 | s
Shaking (Orbital) Amplitude: |  |  |  | 2 | mm
Label: od600
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B2-F12
Start Time: | 9/25/2025 4:46:35 PM
Error: | Command: "CHECK MTP.STEPLOSS" Returned answer: "ERR044: Y-Trans at module MTP lost steps abs(8)>3"
Temperature: 26.7 °C
<> | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
B | 0.9753 | 1.0437 | Fluorescence | 0.9204 | 0.8508 | 1.0112 |  |  | 0.8716 | 0.9935 | 0.0434
C | 1.041 | 1.0755 | Fluorescence | 0.8341 | 0.7434 | 1.0267 |  |  | 0.9039 | 0.9417 | 0.0437
D | 1.0677 | 1.0481 | Fluorescence | 0.8846 | 0.9617 | 1.0681 |  |  | 0.9402 | 0.8416 | 0.0436
E | 0.989 | 1.1012 | 1.0517 | 0.8987 | 0.9141 | 1.0205 | 1.0387 | 1.0767 | 0.9095 | 0.9051 | 0.0448
F | 1.0186 | 1.0073 | 0.8533 | 0.7794 | 0.819 | 0.9309 | 0.9426 | 0.9173 | 0.8008 | 0.7503 | 0.0449
End Time: | 9/25/2025 4:47:01 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MTP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) HCP, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.23_05/17_InfiniteRX (May 9 2017/12.19.53)